GENERAL INSTRUCTIONS OF FIRE – Résidence Albin Peyron

60, Rue des Frères Flavien – 75020 PARIS Tél: 01.48.97.54.50.

PREVENTION

Smoking is prohibited in all rooms equipped with fire detection
It is forbidden to neutralize fire detectors

Do not block the accesses of the areas of help
Know their location and their functionning

Leave clearances and exits free

Do not obstruct the closing of fire doors
Do not block the fire doors in the open position

FIRE

FIREMEN : 18 or 112 (mobile phone)

Call the Reception : 01 48 97 54 50

From the discovery of a disaster, keep calm

Activate the alarm (press the closest alarm box)

Attack the fire with the fire extinguisher without taking risks

In case of smoke fall you, the fresh air is near the ground

EVACUATION

From the hearing of the sound signal or in order :

Keep calm

Follow the instructions of the guide of evacuation

Evacuate without precipitation by closing windows and doors behind you

Do not use elevators

Follow the evacuation markup

Never go back except by order of the evacuation guide

Go to the assembly area defined for your building